## Technical. S
4.1 | Motorized Patients Beds
1 | 2 |  | 3 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
S. # | FIRM NAME |  | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
| MARKING SHEET DESCRIPTION |  | 9: Engineers | Technical staff | Peshawar | Other Cities | Previous Performance with HMC
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
| MARKS |  | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
1 | M/S Mediline Technology |  | 50 | 0 | 2 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 2 | 86
2 | M/S Vertex Medical |  | 50 | 0 | 2 | 2 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 84
3 | M/S KASBN |  | 50 | 0 | 2 | 6 | 2 | 4 | 5 | 5 | 5 | 2 | 2 | 4 | 87
4 | M/S Friends Traders |  | 50 | 0 | 4 | 0 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 84
4.3 | Portable Broncho Scope
| 1 | 2 | 3 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
| S. # | FIRM NAME | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
|  |  | 9: Engineers | Technical staff | Peshawar | Other Cities | Previous Performance with HMC
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
|  | MARKS | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
| 1 | M/S Friends Traders. | 50 | 0 | 4 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 90
| 2 | M/S Allmed Solution | 50 | 0 | 4 | 6 | 2 | 2 | 5 | 5 | 5 | 2 | 2 | 3 | 86
4.4 | Portable Doppler Ultrasound
|  | 1 | 2 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
| S. # | FIRM NAME | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
|  |  | 9: Engineers | Technical staff | Peshawar | Other Cities | Previous Performance with HMC
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
|  | MARKS | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
| 1 | M/S Vertex Medical | 50 | 0 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 92
| 2 | M/S Hoor Pharma | 48 | 0 | 4 | 0 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 2 | 80
| 3 | M/S Friends Traders | 50 | 0 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 92
4.5 A | Defibrilator (360 Joules)
1 | 2 |  | 3 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
S. # | FIRM NAME |  | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
| MARKS |  | 9: Engineers | Technical staff | Peshawar | Other Cities | Previous Performance with HMC
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
|  |  | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
1 | M/S IBS Pharma |  | 50 | 0 | 2 | 0 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 82
2 | M/S Friends Traders. |  | 50 | 0 | 4 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 90
3 | M/S Radiant Medical |  | 50 | 0 | 2 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 88
4.5.B | Defibrilator (200 Joules)
|  | 1 | 2 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
| S. # | FIRM NAME | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
|  |  | 9: Engineers | Technical staff | Peshawar | Other Cities | Previous Performance with HMC
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
|  | MARKS | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
| 1 | M/S IBS Pharma | 50 | 0 | 2 | 0 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 82
| 2 | M/S Medical Equipment & System | 50 | 0 | 2 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 3 | 87
| 3 | M/S Friends Traders | 50 | 0 | 4 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 90
| 4 | M/S Radiant Medical | 50 | 0 | 2 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 88
4.6. | Portable Ventilator
|  | 1 | 2 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
| S. # | FIRM NAME | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
|  |  | 9: Engineers | Technical staff | Peshawar | Other Cities | Previous Performance with HMC
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
|  | MARKS | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
| 1 | M/S Total Technologies | 50 | 0 | 2 | 1 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 83
| 2 | M/S Friends Traders. | 50 | 0 | 4 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 90
4.8 | Patient Monitor
|  | 1 | 2 | 4 | 5 | 7 | 8 | 9 |  | 10 |  | 11 | 12 | 14 | 15
|  |  | 3: Product Evaluation; 8: Firm Evaluation | [6 empty] | Technical Evaluation
| S. # | FIRM NAME | Compliance to HMC's Specification | Special Features | Product Certification | Product’s Local Performance Certificate | Intergrity Pact | Technical Staff |  | Work Station, Networking & Training |  | Previous Performance with HMC | Testing & Calibration Equipment | Post_ Warranty Series & Maintenance | Total Technical Marks
|  |  | 9: Engineers | Technical staff | Peshawar | Other Cities
|  |  | 9: (01 Prs) | ( 03 Prs)
|  |  | 9: 4 | 02 each
|  | MARKS | 50 | 8 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 100
| 1 | M/S Total Technologies | 50 | 0 | 4 | 4 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 88
| 2 | M/S Friends Traders. | 50 | 0 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 92
| 4 | Hospicrare | 50 | 4 | 6 | 6 | 2 | 4 | 6 | 5 | 5 | 2 | 2 | 4 | 96